BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF COLORADO

Docket No. 11A-325E

_____________________________________________________________________

IN THE MATTER OF THE APPLICATION OF PUBLIC SERVICE COMPANY OF COLORADO FOR A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY FOR THE PAWNEE EMISSIONS CONTROL PROJECT ______________________________________________________________________

ANSWER TESTIMONY OF

LESLIE GLUSTROM

AUGUST 31, 2011

__________________________________________________________________

TABLE OF CONTENTS

LIST OF EXHIBITS	3

I. INTRODUCTION AND SUMMARY	4

II. DIRECT COSTS OF THE PAWNEE EMISSION CONTROL PROJECT	9

III. POSSIBLE FUTURE COSTS RELATED TO THE PAWNEE EMISSION CONTROL PROJECT	11

IV. CHANGING CIRCUMSTANCES AFFECTING THE PRUDENCE OF THE PAWNEE EMISSION CONTROL PROJECT	12

A. The Costs of Wind Energy are Declining	13

B. Xcel’s Wind Curtailment Costs Have Increased Dramatically	13

C. The Costs of Solar Energy are Declining	14

D. The Need for Increased Flexibility to Accommodate Higher Levels of Renewable Energy; Coal is Not Flexible—Especially with Emission Controls on It	17

E. New Studies Point to the Need to Make Judicious Investment Decisions Now in Order to Support the Creation of a Clean Energy, 21st Century Grid	19

F. The Costs of Coal Are Increasing and Likely to Continue to Do So	21

G. The Potential Loss of Franchises if Xcel Continues to Make Imprudent Investments in Coal	24

# LIST OF EXHIBITS

Exhibit 1

Capital Costs and 15-Year Depreciation Impacts for the SCR, LSD and SIS

(Discovery Response LWG 4-4, Docket 11A-325E)

Exhibit 2

Wind Curtailment Costs

(Discovery Response CPUC 1-4, Docket 11A-418E)

Exhibit 3

Western Grid 2050 Report: Contrasting Futures, Contrasting Fortunes

(Western Grid Group, August 22, 2011)

Exhibit 4

Pawnee Delivered Coal Costs 2009-May 2011

(Data from EIA 423 Database for Pawnee coal plant.)

# I. INTRODUCTION AND SUMMARY

Q: PLEASE STATE YOUR NAME, ADDRESS AND CONTACT INFORMATION

A: My name is Leslie Glustrom. I live at 4492 Burr Place, Boulder, Colorado. My phone number is 303-245-8637 and my e-mail address is lglustrom(at)gmail.com.

Q: ARE YOU AN XCEL RATEPAYER AND HAVE YOU PARTICIPATED IN OTHER COLORADO PUC DOCKETS?

A: Yes, I am an Xcel ratepayer and I have been or I am an active participant in the following dockets at the Colorado PUC:

05A-072E Comanche-Daniels Park Transmission

07A-107E/07A-196E  2013 Contingency Plan/Tri-State Gas Contracts

07A-421E Pawnee-Smoky Hill Transmission

07A-521E Interruptible Service Option Credit

07A-447E Xcel 2007 Resource Plan

07A-469E Fort St. Vrain Turbines

08S-520E Xcel 2009 Rate Increase

09AL-299E Xcel 2010 Rate Increase

09A-772E Xcel 2010 Renewable Energy Compliance Plan and Windsource

10A-124E Smart Grid Certificate of Public Convenience and Necessity

10A-377E Xcel Amendment to the 2007 Resource Plan

11A-135E Restart of Xcel’s Solar Rebate Program

11A-325E Pawnee Emission Control Project

11A-418E Xcel 2012 Renewable Energy Compliance Plan

In addition, I have followed many other Colorado PUC dockets related to Xcel and have read much of the testimony and many of the decisions in these other dockets.

Q: DO YOU HAVE SPECIAL EXPERTISE THE COMMISSION SHOULD KNOW ABOUT?

A: Yes, in addition to the knowledge gained about Xcel’s system from extensive participation in and propounding of discovery in the dockets listed above, I have conducted a detailed assessment of U.S. coal supplies and have spoken extensively in Colorado and other states on the subject. A detailed report entitled, “Coal: Cheap and Abundant—Or Is It? Why Americans Should Stop Assuming That the U.S. Has a 200-Year Supply of Coal,” with over 200 hyperlinked references is available at http://www.cleanenergyaction.org/sites/default/files/Coal_Supply_Constraints_CEA_021209.pdf. I am also a co-author of the Harvard study on the “Full Cost Accounting for the Life Cycle of Coal,” published in the Annals of the New York Academy of Science in February 2011 and which can be accessed at http://onlinelibrary.wiley.com/doi/10.1111/j.1749-6632.2010.05890.x/full.

In addition, I continue to monitor coal cost and supply issues in many states (and to a lesser extent globally) and have prepared coal cost and supply analyses for a number of states and individual power plants. I also monitor coal mine expansion issues and the coal “leasing” process in the Powder River Basin coal supply region in Northeast Wyoming. I am familiar with the geologic studies of coal supply done in the Powder River Basin as well as in many other coal supply regions of the United States. My training is in biochemistry and I have over 30 years of experience working at the interface of science and society on a wide variety of issues including climate change, clean energy and coal supplies.

Q: PLEASE SUMMARIZE THE PURPOSE OF YOUR TESTIMONY.

A: The primary purpose of my testimony is to provide a public record of what is known about the current and future costs of the decision to add emission controls to the 505 MW “Pawnee” coal plant in Brush, Colorado including the addition of:

- A Selective Catalytic Reduction (“SCR”) for control of nitrogen oxides or “NOx,”

- A Lime Spray Dryer (“LSD”) or “scrubber” for control of sulfur dioxide or “SO2”; and

- A Sorbent Injection System (“SIS”) for mercury control.

In addition, I will discuss potential future costs that could increase if a final decision is made to move forward with the Pawnee Emission Control Project and finally I will discuss the “changing circumstances” that indicate that making a large investment in an aging coal plant in this century is not likely to be a wise investment for either Xcel or its ratepayers.

My testimony will provide the Commission with the following information and recommendations:

- Costs for the Pawnee Emission Control Project that ratepayers will be responsible for include:

  - Capital costs of the project:

  - Depreciation and return on investment

  - Chemical costs for the SCR, LSD and mercury sorbent injection system

  - Costs of coal ash handling since it can no longer be used in cement making.

  - Loss of power production due to the “housepower” needed to run the emission control equipment.

- Possible areas of future increased costs that are not presently being accounted for include those for:

  - Increased chemical costs

  - Water costs

  - Increased costs for coal ash handling

  - Need to comply with a 1-hour SO2 standard

  - Possible expensive repairs related to corrosion in the lime spray dryer

  - Loss of MWh due to the power demands of the pollution control equipment

  - Actual capacity factors below those assumed in modeling

  - Need to comply with non-mercury metal hazardous air pollutant regulations

  - Litigation related to environmental pollution including climate change and mercury emissions

  - Increased wind curtailment costs

  - Stranded costs from early retirement of the Pawnee plant

- Circumstances are changing rapidly—even since the close of the 10M-245E docket. These changed circumstances include:

  - Declining costs of wind power:

  - Dramatic increases in Xcel’s wind curtailment costs,

  - Continued and projected decline in the cost of solar installations

  - The need for flexibility in accommodating increased levels of renewable energy; and

  - Increased cost of coal.

  - The potential loss of franchise communities if Xcel continues to make unwise investments in coal infrastructure at a time when an increasing number of rate payers are making it clear they want clean energy, not dirty coal plants.

Before proceeding with an investment of approximately $250 million in the Pawnee coal plant, the Commission and Xcel would be wise to review these changing circumstances in order to avoid future prudence challenges to this project. One way to review these changed circumstances and to assess the prudence of investments in the Pawnee plant would be to evaluate all of Xcel’s options related to the Pawnee site in the 2011 Resource Plan expected to be filed in October 2011. A further examination of the changing circumstances could indicate that Xcel and its ratepayers will be better served by the conversion of the Pawnee coal plant to a natural gas plant (or some other option) which will better accommodate increased additions of renewable energy over the next three decades. In the long run, building a system that is more flexible and provides a cleaner product that more customers will want is likely the wiser business course for Xcel. No company, not even a monopoly, can survive long by providing products that its customers don’t want.

If a restaurant repeatedly serves liver and onions regardless of what its customers want, it won’t likely stay in business long. If Xcel keeps “serving” coal-fired electrons into the 21st century, it is questionable how long they will stay in business.

There are literally thousands of public comment letters in the PUC record rejecting coal as a generation technology for the 21st century. If Xcel continues to ignore the wishes of its customers it could find itself going the way of restaurants that insist on serving  “liver and onions….”

# II. DIRECT COSTS OF THE PAWNEE EMISSION CONTROL PROJECT

Q: WHAT ARE THE PROJECTED CAPITAL COSTS OF THE PAWNEE EMISSION CONTROL PROJECT?

A: In response to Discovery Request LWG 4-4, Xcel provided information on capital costs and the expected increase in $/MWh operating expense of the Pawnee coal plant as a result of the emission controls. That Discovery Response is included as Exhibit LWG 1 and the key information about the capital costs of the SCR and the LSD is reproduced below:

Figure LWG-1

Captial Costs for the Pawnee SCR and LSD

(Excerpted from Discovery Response LWG 4-4, Docket 11A-325E, Exhibit LWG 1)

Figure LWG-1 provides the following breakdown of the costs of the Pawnee Emission Control Project.

Lime Spray Dryer 			$195 million (Nominal $)

Selective Catalytic Reduction 	$55.7 million (Nominal $)

Exhibit LWG 1 also provides the cost of the mercury sorbent injection system as approximately $2 million in nominal $.

Q: WHAT ARE THE OTHER COSTS OF THE PAWNEE EMISSION CONTROL PROJECT?

A: In addition to the capital costs and return on that investment at Xcel’s Weighted Average Cost of Capital, there are a number of operating and other costs including:

- $44 million (2010 $) until 2041 for the chemicals used in the LSD.

- $167 million (2010 $) until 2041 for the chemicals needed for the SCR.

- $32 million (2010 $) until 2041for the brominated carbon sorbent for mercury control.

- Fixed operating costs including

  - $570,000/year for the SCR; and

  - $4,000,000 per year for the LSD.

- Increased costs of coal ash handling because it will no longer be used in cement making.

All of these costs will likely be passed through to rate payers and are likely to escalate significantly over the next three decades.

# III. POSSIBLE FUTURE COSTS RELATED TO THE PAWNEE EMISSION CONTROL PROJECT

Q: WHAT ARE SOME POSSIBLE FUTURE INCREASED COSTS OF THE PAWNEE EMISSION CONTROL PROJECT?

A: There are a number of uncertainties regarding future costs related to proceeding with the Pawnee Emission Control Project. These include:

- Possible increases in chemical costs for the SCR and LSD that exceed the assumed 2.5% that Xcel is using as an escalator.

- Possible increases in the cost of water over the next 3 decades.

- New coal ash handling regulations that require the coal ash produced by this project to be handled in a more stringent manner.

- Need to comply with a new 1-hour SO2 standard.

- Corrosion in the Lime Spray Dryers which will require expensive repairs.

- Reduced power from the coal plant due to the power requirements of the emission control devices.

- Reduced output from the plant due to the plant’s capacity factor being less than the assumed 84%.

- Need to comply with non-mercury metal hazardous air pollutant regulations.

- Increased litigation related to environmental pollution including CO2 and climate change and mercury exposures.

- Increased wind curtailment costs when coal plants can’t be ramped down and rate payers have to pay the wind curtailment costs incurred by Xcel (as discussed further below.)

- Possible stranded costs if Xcel decides to retire the Pawnee plant early due to increasing fuel and operating costs and declining costs of renewable energy and demand side measures.

# IV. CHANGING CIRCUMSTANCES AFFECTING THE PRUDENCE OF THE PAWNEE EMISSION CONTROL PROJECT

Q: WHAT ARE THE CHANGING CIRCUMSTANCES THAT COULD AFFECT THE PRUDENCE OF THE PAWNEE EMISSION CONTROL PROJECT?

A:  There are many circumstances that have changed since the Colorado PUC issued its final decision (C10-1328) in the 10M-245E (“Clean Air Clean Jobs”) docket on December 15, 2011. Some of these changing circumstances are described below.

To ensure that Xcel makes a prudent investment for the Company and its ratepayers, it would be wise for the Company to reevaluate the wisdom of the Pawnee Emission Control Project in light of these changing circumstances which include:

  - Declining costs of wind power:

  - Dramatic increases in Xcel’s wind curtailment costs,

  - Continued and projected decline in the cost of solar installations

  - The need for flexibility in accommodating increased levels of renewable energy; and

  - Increased cost of coal.

  - The potential loss of franchise communities if Xcel continues to make unwise investments in coal infrastructure at a time when an increasing number of rate payers are making it clear they want clean energy, not dirty coal plants.

Each of these is discussed in more detail below.

## A. The Costs of Wind Energy are Declining

There is extensive testimony from Xcel in Dockets 10A-377E and 11A-689E on the low costs of wind energy at this point. While the current low costs depend in part on the Federal Production Tax Credit, there is good reason to believe that the cost of wind will continue to decrease in the next three decades until the planned retirement of the Pawnee coal plant in 2041. The analysis of wind bids in the 10A-377E docket was done in January 2011, after the close of the 10M-245E docket. Xcel’s application in Docket 11A-689E, in which Xcel is asking for permission to enter into a Power Purchase Agreement for an additional 200 MW of wind from what is referred to as the Limon II wind farm, was just filed on August 15, 2011.

Neither of these analyses showing the declining costs of wind energy could have been considered in the 10M-245E (“Clean Air Clean Jobs”) docket, because they occurred after the close of the record in that docket and the issuance of the final decision C10-1328 on December 15, 2011.

## B. Xcel’s Wind Curtailment Costs Have Increased Dramatically

As part of Docket 11A-418E (Xcel Renewable Energy Compliance Plan) docket, it has come to light that Xcel’s wind curtailment costs have increased dramatically in recent years. Discovery Response CPUC 1-4 in Docket 11A-418E is included as Exhibit LWG-ZZ and the key data are reproduced below.

Figure LWG-2

Xcel’s Wind Curtailment Costs 2007-2010

(Data From Xcel’s Response to Discovery Request

CPUC 1-4, Docket 11A-418E, Exhibit LWG 2)

| Year | Total Wind Curtailment Costs |
| --- | --- |
| 2007 | $0.12 million |
| 2008 | $0.23 million |
| 2009 | $0.36 million |
| 2010 | $3.85 million |

It is clear from Table LWG-2 above that Xcel’s wind curtailment costs soared in 2010—increasing by more than 10 fold from 2009. While all the reasons for this are not yet understood, it is very likely that the number of wind curtailments has increased as a result of bringing both new wind and the new Unit 3 coal plant on line. Wind and coal don’t mix since coal doesn’t have the flexibility to accommodate increased levels of renewable generation that is variable. This data was not available in the 10M-245E docket and is a strong argument for reconsidering the prudence of investing over $250 million in pollution controls for the Pawnee coal plant at a time when wind costs are declining and are likely to do so in the coming decades.

## C. The Costs of Solar Energy are Declining

It is widely understood that the costs of photovoltaic solar installations are falling dramatically. In Docket 11A-135E, Xcel witness Robin Kittel addressed this issue. When asked whether the costs of photovoltaic solar systems had declined over time, Ms. Kittel gave the following response on page 5 of her Direct Testimony in Docket 11A-135E filed on February 16, 2011.

Excerpt from the Direct Testimony of Xcel Witness Robin Kittel, Docket 11A-135E

Ms. Kittel also included a graph of the declining costs of solar photovoltaic systems in her testimony and this graph is reproduced below.

[Rest of page left intentionally blank.]

Figure LWG-3

Declining Costs of Solar Photovoltaic Installations

(From page 7 of the Direct Testimony of

Xcel Witness Robin Kittel, February 16, 2011 in Docket 11A-135E)

Figure LWG-3 above (taken from Xcel witness Robin Kittel’s Direct Testimony in the 11A 135E docket)  shows the costs of on-site solar photovoltaic systems declining from about $9/watt in 2006 to about $4.50/watt in 2011.  While some may argue over the details of the costs shown for solar, there is general agreement that the costs of installing solar photovoltaic systems have declined dramatically in the last five years. There is good reason to believe that these trends will continue in the coming decades—at the same time that the costs of coal and chemicals to operate a coal plant will be increasing.

There is considerable research going on at the National Renewable Energy Lab in Golden, Colorado and around the world in an effort to further reduce the cost of all forms of solar energy including photovoltaic and larger, utility-scale Concentrating Solar Power (”CSP”). The NREL research is part of the Department of Energy’s “Sunshot” program to bring photovoltaic costs to under $1/watt. A summary of the “Sunshot” initiative can be found at http://www1.eere.energy.gov/solar/sunshot/index.html and is described below.

The DOE SunShot Initiative is a collaborative national initiative to make solar energy technologies cost-competitive with other forms of energy by reducing the cost of solar energy systems by about 75% before 2020. Reducing the total installed cost for utility-scale solar electricity to roughly 6 cents per kilowatt hour without subsidies will result in rapid, large-scale adoption of solar electricity across the United States. Reaching this goal will re-establish American technological leadership, improve the nation's energy security, and strengthen U.S. economic competitiveness in the global clean energy race. http://www1.eere.energy.gov/solar/sunshot/index.html

The Pawnee Emission control project is supposed to keep the Pawnee coal plant on line for three more decades until 2041. It is highly likely that during that time the price of solar will fall significantly and Xcel and its ratepayers will be paying for the Pawnee coal plant instead of investing in cost-competitive solar electricity that doesn’t have a fuel cost or require expensive pollution control chemicals. Moreover, the Pawnee coal plant outfitted with pollution controls is not likely to have adequate flexibility to support a system with increasing amounts of wind and solar, as discussed below.

## D. The Need for Increased Flexibility to Accommodate Higher Levels of Renewable Energy; Coal is Not Flexible—Especially with Emission Controls on It

As the costs of wind and solar decline, there will be an increasing need for a more flexible system to accommodate the variable production of renewable resources. This flexibility is presently best provided for by natural gas plants rather than coal plants. This was well expressed by Xcel witness Greg Ford in the 10M-245E (“Clean Air Clean Jobs”) docket and is reproduced below:

Figure LWG-4

Excerpt from Direct Testimony of Xcel Witness Greg Ford- 10M-245E

## E. New Studies Point to the Need to Make Judicious Investment Decisions Now in Order to Support the Creation of a Clean Energy, 21st Century Grid

On August 22, 2011 the Western Grid Group issued a report entitled, “ Western Grid 2050: Contrasting Futures, Contrasting Fortunes.” The report is included as Exhibit LWG 3. It contrasts a future characterized by “Business as Usual” or “BAU” with a future shaped by a “Clean Energy Vision” or “CEV.”  Figure LWG-5 below reproduces the summary box that compares the economic and energy security performance of the BAU and CEV portfolios. This report was just issued in the last 2 weeks and could not be considered as part of the 10M-245E (“Clean Air Clean Jobs”) docket.

The Western Grid 2050 report makes it clear that decisions to make large investments in old fossil fuel infrastructure, such as the Pawnee coal plant, will not support the Clean Energy Vision for the 2050 grid which has significant economic, job creation and insulation from fuel cost increase benefits.

[Rest of page left intentionally blank.]

Figure LWG-5

Table ES-1 from Western Grid 2050 Report

(From Exhibit LWG 3)

## F. The Costs of Coal Are Increasing and Likely to Continue to Do So

Data on coal costs continues to underscore that Xcel has greatly underestimated coal costs

Table LWG-1

Cost of Coal Burned at the Pawnee Coal Plant

2008, 2009 and 2010

(Data from EIA 423 Database http://www.eia.gov/cneaf/electricity/page/eia423.html.

As summarized in Exhibit LWG 4)

| Year | Cost of Coal for the Pawnee Plant $/MMBTU |
| --- | --- |
| 2008 | $0.98 |
| 2009 | $1.05 |
| 2010 | $1.17 |
| 2011 to May | $1.27 |

Using the data provided by Xcel in the 10M-245E docket shown in Table LWG-1 as well as an update on the cost of coal delivered to the Pawnee coal plant, it can be seen that Xcel’s cost of coal at the Pawnee coal plant increased from $0.98/MMBTU in 2008 to $1.27 by mid-2011. This is about a 29% for that period or about a 10% increase per year for that period. An annual increase in the neighborhood of 10% per year is clearly significantly greater than the annual 1.5% increase assumed by Xcel in the 10M-245E docket.

An increase of coal costs that exceeds the less than 2% annual increase in coal costs assumed in Docket 10M-245E will clearly make the cost of operating the Pawnee coal plant for the next three decades much greater than was assumed in the 10M-245E docket. Under the present system, all of Xcel’s fuel costs are passed through to rate payers under the Electric Commodity Adjustment (“ECA”) and so Xcel does not carry any of the risk for inaccurate projections of fuel costs.

Moreover, Xcel’s models discount fuel costs at about 8% per year which has the effect of largely making future fuel costs “disappear” in its models.

There is good reason to believe that coal costs from the Powder River Basin (which supplies the coal to the Pawnee coal plant) will continue to rise in future years. The coal in the Powder River Basin has the shape of a bowl (or “basin”) that is elongated. As the existing mines expand going from east to west, they will have to go down the sides of the “bowl” deeper to get to the coal. The short lives of the mines supporting the Pawnee coal plant and the increasing overburden in their expansion areas can be seen in Table ZZ below.  Similar data is available for most of the other mines in the Powder River Basin and all the mines are dealing with the same basic “bowl” formation of the coal deposit. As overburden increases, production costs are likely to also mount driving up the cost of coal needed to run the Pawnee coal plant—as well as all U.S. coal plants.

[Rest of page left intentionally blank.]

Table LWG-2

Key Characteristics of the

Coal Mines That Support the Pawnee Coal Plant

Coal mines are shown in Exhibit LWG 4

Data from the Bureau of Land Management, Casper, Wyoming Field Office. See footnotes for details.

|  | Approximate Remaining Life of Existing Pit Post 2010 | Approximate Life of Proposed Expansion Area | Average Overburden in the Existing Pit | Average Overburden in the Expansion Area |
| --- | --- | --- | --- | --- |
| Antelope Mine, Wyoming | 7 years | 11 years | 122 feet | 260-280 feet |
| Eagle Butte Mine, Wyoming | 8.6 years | 9 years | 200 feet | 325 feet |

## G. The Potential Loss of Franchises if Xcel Continues to Make Imprudent Investments in Coal

Since the close of the 10M-245E docket, it is clear that the City of Boulder is seriously considering whether to municipalize and break away from Xcel. On August 16, 2011 the Boulder City Council certified Ballot Issues 2B and 2C to increase and extend the Utility Occupation Tax (Ballot Measure 2B) and authorize the creation of a Boulder municipal utility (Ballot Measure 2C) for the fall 2011 municipal election in Boulder. 	The City of Boulder and its residents have made it clear that one of the key concerns is that Xcel is too heavily invested in coal plants for the 21st century and that these coal plants will emit large amounts of unnecessary pollution, consume large quantities of unnecessary water, have increasing coal costs and coal supply issues and impede the addition of high levels of renewable energy in the coming decades.

Regardless of the outcome of the Boulder vote in 2011, there is a good possibility that an increasing number of communities will want to receive electricity from cleaner, lower carbon and more flexible resources as we go through the coming decades.

It is understandable that Xcel wants to make a large investment in pollution control that will be added to its rate base so that it can earn “return of” and “return on” this investment in its rates. It seems, however, that insisting on making this large investment in last century’s dirty, fossil fuel infrastructure will not prove prudent in the long run if it creates an environment where significant numbers of Xcel ratepayers seek alternative solutions whether it is in investments in personal solar systems or in communities breaking away from Xcel as their franchises expire. Neither of these options will be good for Xcel’s long term financial outlook.

Q: DOES THIS CONCLUDE YOUR TESTIMONY AT THIS TIME?

A: Yes.

# Footnotes

Copies of the Harvard “Full Cost Accounting for the Life-Cycle of Coal” article are also available upon request to Ms. Glustrom.

See for example the voluminous public comments in the 04A-214E, 04A-215E, and 04A-216E (combined dockets) as well as those in the 06S-234EG, 08S-520E and 09AL-299E rate case dockets.

Cost of chemicals for the LSD provided in response to Discovery Request LWG 3-14, Docket 11A-325E.

Cost of chemicals for the SCR provided in response to Discovery Request LWG 3-15, docket 11A-325E.

Cost of chemicals for the mercury sorbent system provided in response to Discovery Request LWG 3-13, Docket 11A-325E.

The $570,000 for the fixed operating costs of the SCR were provided in response to Discovery Request LWG 2-1, Docket 11A-325E.

The $4,000,000 for the fixed operating costs of the LSD were provided in response to Discovery Request LWG 2-2, Docket 11A-325E.

The creation of 37,000 tons of fly ash for on-site disposal is discussed in the response to Discovery Request LWG 1-9, Docket 11A-325E. Other coal ash handling information was provided in Discovery Request LWG 2-4, Docket 11A-325E.

The assumed 84% capacity factor for the Pawnee plant was provided in response to Discovery Request LWG 4-6, Docket 11A-325E. Historical capacity factors for the Pawnee plant were provided in response to Discovery Request LWG 4-7, Docket 11A-325E.

The footnote from page 5 of Ms. Kittel’s 11A-135E  testimony reads as follows:

Ms. Glustrom recognizes the issues related to the production and pipeline transport of natural gas but also recognizes the need to build more flexibility into our present system until better storage technologies and grid regulation become available.

Xcel’s 2008 coal costs for Pawnee are found in Data Request Item K found in Exhibit LWG-2 with Hearing Exhibit 121 while 2009 and first-half 2010 Pawnee coal costs can be found in Exhibit LWG-3 with Hearing Exhibit 121 from Docket 10M-245E. Full 2010 delivered coal costs for Pawnee can be found in Exhibit 4 included with Ms. Glustrom’s Answer Testimony in this 11A-325E docket.

Actual annual % increases in coal costs for Pawnee will need to wait until the parties have access to the cost of coal burned at the Pawnee plant as the EIA 423 database reports coal deliveries and there is often a lag between coal delivered and coal burned at a power plant.

For the use of a discount rate on fuel costs in Xcel’s modeling, see Decision C08-0929 in the 07A-447E docket, ¶ 286-287, page 88 approving the use of the Weighted Average Cost of Capitol as the discount rate in Xcel’s models. At the time, the WACC was 7.88%.

The geology of the Gillette coal field is discussed in great detail in the United States Geologic Survey report USGS 2008-1202 available at http://pubs.usgs.gov/of/2008/1202/.

The Final EIS for the Antelope Mine Expansion is available from http://www.blm.gov/wy/st/en/info/NEPA/documents/cfo/West_Antelope_II.html

See page ES-7 in the Executive Summary for the Antelope Mine Expansion available from http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/westantelope/feis.Par.19906.File.dat/003exsumm.pdf

See page ES-7 in the Executive Summary for the Antelope Mine Expansion available from http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/westantelope/feis.Par.19906.File.dat/003exsumm.pdf

See page 3-8 in Chapter 3 of the West Antelope II Final Environmental Impact Statement available from

http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/westantelope/feis.Par.64401.File.dat/006chap3.pdf

See page 3-8 in Chapter 3 of the West Antelope II Final Environmental Impact Statement available from

http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/westantelope/feis.Par.64401.File.dat/006chap3.pdf

The Environmental Impact Statement for the Eagle Butte Mine expansion is available from http://www.blm.gov/wy/st/en/info/NEPA/documents/cfo/eaglebutte-westcoal.html

See page ES-9 in the Executive Summary of the Eagle Butte FEIS available at http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/eaglebuttewestcoal/feis.Par.79934.File.dat/02abst-exsumm.pdf

See page ES-9 in the Executive Summary of the Eagle Butte FEIS available at http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/eaglebuttewestcoal/feis.Par.79934.File.dat/02abst-exsumm.pdf

See page 3-8 in Chapter 3 of the FEIS for the Eagle Butte expansion available at http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/eaglebuttewestcoal/feis.Par.93601.File.dat/05chap3.pdf

See page 3-8 in Chapter 3 of the FEIS for the Eagle Butte expansion available at http://www.blm.gov/pgdata/etc/medialib/blm/wy/information/NEPA/cfodocs/eaglebuttewestcoal/feis.Par.93601.File.dat/05chap3.pdf